## Slide 1: Sync OPX with External Devices for NV Experiments

## Slide 3
Triggers external
devices

## Slide 4
Triggers external
devices
Play(digital marker, element)

## Slide 5
Triggers external
devices
Play(digital marker, element)
Gets external
trigger

## Slide 6
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
Gets external
trigger

## Slide 7
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
Gets external
trigger
IO values

## Slide 8
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
set_IO()
get_IO()
Gets external
trigger
IO values

## Slide 9
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
set_IO()
get_IO()
pause()
resume()
Gets external
trigger
IO values

## Slide 10
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
set_IO()
get_IO()
pause()
resume()
Gets external
trigger
IO values
Measure analog
signal

## Slide 11
Triggers external
devices
Play(digital marker, element)
Wait_for_trigger(element)
set_IO()
get_IO()
pause()
resume()
Measure(…, time_tagging())
Gets external
trigger
IO values
Measure analog
signal

## Slide 12: Widefield ODMR - Setup
AOM
Laser
Camera

## Slide 13: Widefield ODMR - Setup
AOM
AOM RF
AMP
Laser
Camera

## Slide 14: Widefield ODMR - Setup
IQ
MIXER
AMP
LO
AOM
AOM RF
MW
AMP
Laser
Camera

## Slide 15: Widefield ODMR Setup
Qua - Easy and Flexible
IQ
MIXER
AMP
LO
AOM
AOM RF
MW
AMP
Laser
Camera

## Slide 16: G2 with a confocal setup
IQ
MIXER
AMP
AOM
AOM RF
MW
AMP
Laser
LO
x
y

## Slide 17: G2 with a confocal setup
IQ
MIXER
AMP
AOM
AOM RF
MW
AMP
Laser
LO
x
y

## Slide 18: G2 with a confocal setup
Run Qua Program
pause
Move Stage to new location
resume
Measure g2
Repeat Nx * Ny times

## Slide 19: Widefield ODMR
Simple CW ODMR, measuring for 10ms with MW and 10ms without

## Slide 20: Widefield ODMR
If it has high enough FPS, can do quick measurement without reference.
Frequency change is ~200ns long. 1us added for clarity.

## Slide 21: Widefield ODMR
Pulsed ESR